## Annual Summary
NM Equipment Evaluation Summary
System: |  |  |  | Report Date:
Address:
System NMAP# - Unit #: |  |  |  | Survey Date:
System Manufacturer: |  |  | Model:
Medical Physicist:
Physicist Signiture:
Equipment Evaluation Tests
Pass/Fail/NA
1 | Intrinsic uniformity
2 | System Uniformity with all commonly used collimators
3 | Intrinsic or System Spatial Resolution
4 | System Sensitivity (count rate/unit activity)
5 | Relative Sensitivity
6 | Energy Resolution
7 | Count Rate Parameters
8 | Monitor Evaluation
9 | System Interlocks
10 | Overall System Performance for SPECT Systems
a. Uniformity
b. Resolution
c. Contrast
Evaluation of Site's QC Program |  |  |  |  | Pass/ Fail
1. | Daily Uniformity Check
2. | Daily CT check (SPECT/CT systems)
3 | Weekly Bar Phantom
Date
4 | Semi-annual (quarterly preferred) SPECT ACR phantom
5 | Uniformity Calibration (monthly or as specified by manufacturer)
6 | Center-of-Rotation/Head Alignment (SPECT Systems)
7 | Dose Calibrator Tests
a. Accuracy
b. Linearity
c. Constancy
Medical Physicist's Recommendations for Quality Improvement and Comments on Testing Procedures