## Table 1
PET Equipment Evaluation Summary
| System: |  |  |  | Report Date:
| Address: |  |  |  | Survey Date:
System PETAP# - Unit #:
| PET System Manufacturer: |  |  |  | Model:
Medical Physicist:
Signature:
Equipment Evaluation Tests
* Optional ** Tested along the full axial extent of the scanner
| *** Not required for PET/MR systems |  |  |  |  | Pass/Fail/NA
1 | Spatial Resolution
2 | Count Rate Performance (count rate versus activity), including count loss correction *
3 | Sensitivity
4 | Image Uniformity**
5 | Image Quality Phantom
6 | Accuracy of CT# ***
7 | Accuracy of standard uptake value (SUV) measurement
8 | Image Co-registration
9 | Processing Monitor
10 | Camera Interlocks
11 | Safety Evaluation
| Mechanical |  |  | Mechanical
| Electrical |  |  | Electrical
|  | Evaluation of Site's QC Program |  |  |  | Pass/Fail
1 |  | Daily PET Detector Check
2 |  | Daily CT Check
3 |  | Semi-annual (quarterly preferred) PET ACR Phantom
4 |  | Dose Calibrator Tests |  |  | Date
|  | a. Accuracy | a. Accuracy
|  | b. Linearity | b. Linearity
|  | c. Constancy | c. Constancy
Medical Physicist's Recommendations for Quality Improvement and Comments on Testing Procedures